Comment Form

SAR-013: Revisions to Regional Standard

BAL-001-TRE-2

##### E-mail completed form to rsm@texasre.org

Comments must be submitted by June 29, 2026.

Commenter Information

Name:  Click here to enter text.

Registered Entity:  Click here to enter text.

E-mail:  Click here to enter text.

Telephone:  Click here to enter text.

Background

On June 28, 2024, ERCOT submitted a Regional Standard Authorization Request (SAR) to revise Texas RE’s Regional Standard BAL-001-TRE-2.  The MRC accepted the SAR as a project during its September 18, 2024, meeting.

The SAR consisted of three objectives:

- Include a provision that allows any generation resource that is not qualified to provide Operating Reserves to widen the resource’s Governor deadband to +/- 0.036 Hz upon confirmation from the Balancing Authority (BA).

- Clarify the roles of the Generator Owner (GO), Compliance Enforcement Authority (CEA), and the BA as they pertain to the Compliance Monitoring Period and Reset Time Frame (Section C: 1.2) in regards to resetting the 12-month rolling average Primary Frequency Response (PFR) performance score.

- Define PFR performance requirements for Battery Energy Storage Systems (BESS).

The following documents are posted for review:

- Draft Regional Standard BAL-001-TRE-3 Clean

- Draft Regional Standard BAL-001-TRE-3 Redline

- BAL-001-TRE-3 Implementation Plan

- Description of Revisions

The standard drafting team (SDT) recently made changes to the MWGCS description and conforming changes in the attachment.  The SDT did not make substantive changes to the implementation plan.

Comments

1.  Regional Standard BAL-001-TRE-3: In Section A. 6. Background, the SDT revised the description of the terms  “resource” and generating unit/generating facility for clarity.  In addition, it moved examples from Requirement R6 to this section.  Do you agree with the change?

☐  Yes

☐  No

Please provide justification for your answer.

Click here to enter text.

2. Regional Standard BAL-001-TRE-3:  The SDT made revisions to Requirement R6: it moved the asterisk language to the requirement language, revised the table in Requirement R6.2 since it moved the examples of resources to the background section, and added some information to Measure M6.  The SDT had previously revised the language to account for including a provision for a resource that is not qualified to provide operating reserves and accounting for BESS.  Do you agree with these changes?

Please provide justification for your answer.

Click here to enter text.

☐  Yes

☐  No

3. Attachment 1: Primary Frequency Response Reference Document:  The SDT updated the attachment to include language for capacity not expected to provide PFR in order to accurately account for expected frequency response.  The SDT also included an equation for EPFRfinal and ESPFRfinal for BESS with capacity not expected to provide PFR and associated flowcharts to attachment A and B to the Primary Frequency Response Reference Document.  Do you agree with the changes to Attachment 1?

☐  Yes

☐  No

Please provide justification for your answer.

Click here to enter text.

4. Do you have any additional comments for the standard drafting team?

☐  Yes

☐  No

Comments:

Click here to enter text.